## Slide 1
De novo Assembly of Two Swedish Genomes Reveals Missing Segments
from the Human Reference (hg38)
Ameur et al. Genes, 2018
10 Mb of the 2 genomes are absent from hg38 reference
1 Mb are assigned to chr. Y
6 Mb are shared with a Chinese personal genome
Inclusion of these sequences in GRCh38 genome radically
improves alignment and variant calling from short-read data :
re-analysis :
  yields > 75,000 putative novel single nucleotide variants (SNVs)
  removes > 10,000 false positive SNV calls per individual
PacBio GENOME ASSEMBLY
It becomes possible to represent specific population groups by assembly of representative genomes from different populations.

## Slide 2
Hybrid full-length transcriptome in metastatic ovarian cancer
Jing et al. Oncogene 2019
ATSS : alternative transcription start sites
AS : alternative splicing
APA : alternative polyadenylation sites
PacBio cDNA SEQUENCING

## Slide 3
Primary
tumor
Hybrid full-length transcriptome in metastatic ovarian cancer
Jing et al. Oncogene 2019
Metastases
PacBio cDNA SEQUENCING
Long-read full-length transcriptome analysis
  improves molecular diagnostic
  reveals novel therapeutic vulnerabilities

## Slide 4
SEQUENCING cDNA USING CIRCULAR CONSENSUS SEQUENCES
Increased the total genomic exon length by 1.9 Mb (12.4%)
1609 (9.2%) new genes
RNA cDNA 193 000 CCS
PacBio
sequencing
Genome annotation of the parasitic hookworm Ancylostoma ceylanicum
using single molecule mRNA sequencing
Magrini et al. BMC Genomics, 2018

## Slide 5
SEQUENCING cDNA USING CIRCULAR CONSENSUS SEQUENCES
Increased the total genomic exon length by 1.9 Mb (12.4%)
1609 (9.2%) new genes
RNA cDNA 193 000 CCS
PacBio
sequencing
Original gene model
Genome annotation of the parasitic hookworm Ancylostoma ceylanicum
using single molecule mRNA sequencing
Magrini et al. BMC Genomics, 2018

## Slide 6
SEQUENCING cDNA USING CIRCULAR CONSENSUS SEQUENCES
Increased the total genomic exon length by 1.9 Mb (12.4%)
1609 (9.2%) new genes
RNA cDNA 193 000 CCS
PacBio
sequencing
Original gene model
Genome annotation of the parasitic hookworm Ancylostoma ceylanicum
using single molecule mRNA sequencing
Magrini et al. BMC Genomics, 2018

## Slide 7
SEQUENCING cDNA USING CIRCULAR CONSENSUS SEQUENCES
Genome annotation of the parasitic hookworm Ancylostoma ceylanicum
using single molecule mRNA sequencing
Magrini et al. BMC Genomics, 2018
Increased the total genomic exon length by 1.9 Mb (12.4%)
1609 (9.2%) new genes
RNA cDNA 193 000 CCS
PacBio
sequencing
Original gene model

## Slide 8
DETECTION OF MODIFIED BASES
from Fusberg et al. Nature Methods (2010)
Detection of 5mA and possible detection of other modified bases : 5mC, 5-hmC, etc.
but with strong influence of sequence contexts (requires high coverage)
Feng et al. PLOS Comput Biol (2013)

## Slide 9
PacBio DETECTION OF MODIFIED BASES
Ichikawa et al. Nature Communications 2009
Long-read genome assembly of three inbred medaka strains that undergo speciation
Centromere evolution and CpG methylation during vertebrate speciation
Variation of CpG methylation occurred after the divergence of two medaka strains demonstrating that centromeres accumulated epigenetic diversity during speciation

## Slide 11
A
nanopore
  BASIC CONCEPTS
Upper chamber
Lower chamber
Ionic solution
Ionic solution
time
time
time

## Slide 12
  BASIC CONCEPTS
A
nanopore
Upper chamber
Lower chamber
Ionic solution
Ionic solution
time
time
time
1989 David Dreamer’s notebook

## Slide 13
  BASIC CONCEPTS
5’
DNA polymerase
or helicase ratchets
DNA through the pore
one base per step
E. Coli amyloid
secretion channel
CsgG
450 b/sec

## Slide 14
alpha-hemolysin from
Staphylococcus aureus
Porin from
Mycobacterium smegmatis
Short
sensing region
Large
sensing region
  NANOPORES USED IN THE MinION
Single nucleobase discrimination in a DNA strand
DNA sequencing
with phi29 DNA pol.
and MspA pore
E. coli assembled
de novo
MinION available
DNA transport
through alpha-hemolysin
E. Coli amyloid
secretion channel
CsgG
450 b/sec
1996
2012
2017

## Slide 15
SEQUENCING PROCESS
SEQUENCING
1D2 Library
(2017)

## Slide 16
512 X 4 pores
time
current (pA)
SEQUENCING PROCESS : MinION FLOW CELL
5-6 bases dominate the current signal
MinION : 512 pores
PromethION : 144000 pores (48 x 3000)

## Slide 17
AGGTGC
GGTGCT
GTGCTA
TGCTAT
GCTATG
CTATGT
TATGTC
time
……
….
….
….. AGGTGCTATGTCT….
5’
3’
3000 values/s
current (pA)
Basecalling : finding the optimal
path of successive 6-mers
BASECALLING
……
G A T C T G A GG A T G T C A G T G C C A T T
hexamer

## Slide 18
  QUALITY
Homopolymers difficult to sequence

## Slide 19
Size of sequenced DNA fragments
  SIZE OF SEQUENCED DNA FRAGMENTS
(Risse et al. GigaScience, 2015)
Typical profile of fragment size
10
20
0
Length of sequenced fragments (kb)
“Ultra long” reads
Size of the longest read : 778 kb
1 contig of the 4.6Mb chromosome of E. coli
obtained with just the 7 longest reads
(lab.loman.net, March 2017)

## Slide 20
  SIZE OF SEQUENCED DNA FRAGMENTS

## Slide 21
  SIZE OF SEQUENCED DNA FRAGMENTS

## Slide 22
  SIZE OF SEQUENCED DNA FRAGMENTS
see John Tyson’s video (ONT website)

## Slide 23
HYBRID GENOME ASSEMBLY : NANOPORE AND ILLUMINA DATA
Illumina + MinION
Illumina only
Acinetobacter baylyi (data from Oxford Nanopore)

## Slide 24
NANOPORE GENOME SEQUENCING
Jan. 2018
Using nanopore reads alone assembly of a human genome :
NG50 contig size of ~6.4 Mb
covers >85% of the reference
99.88% accuracy
MHC locus on a single contig, phased over its full length
closure of 12 large (>50 kb) gaps in the reference human genome

## Slide 25
  ASSEMBLY OF A HUMAN Y CENTROMERE
9 BACs
To date, no technology has been capable of sequencing centromeres due to requirement for extremely high-quality long reads
  (Jain et al., bioRxiv, 2017)
300 kb array of 5.8 kb sequence repeated in an uninterrupted head-to-tail orientation

## Slide 26
210 kb
9 BACs
100kb to 210kb
Final high quality consensus BAC sequence
FIRST COMPLETE SEQUENCE OF A HUMAN CENTROMERE
  ASSEMBLY OF A HUMAN Y CENTROMERE
  (Jain et al., bioRxiv, 2017)
To date, no technology has been capable of sequencing centromeres due to requirement for extremely high-quality long reads
300 kb array of 5.8 kb sequence repeated in an uninterrupted head-to-tail orientation

## Slide 27
cDNA SEQUENCING
Library preparation
sequencing

## Slide 28
Detection of splice variants in surface receptor of B cells
(Byrne et al. Nat. Comm. 2017)
Library preparation
sequencing
cDNA SEQUENCING
Splice alignment difficult due to high (5-10%) error rate
Reads are frequently truncated from 5’ end

## Slide 29
Tang et al. bioRxiv 2018
CHALLENGES OF NANOPORE TRANSCRIPTOME ANALYSIS
FLAIR : a pipeline for splicing isoform determination

## Slide 30
Tang et al. bioRxiv 2018
CHALLENGES OF NANOPORE TRANSCRIPTOME ANALYSIS
CHALLENGES OF NANOPORE TRANSCRIPTOME ANALYSIS
Junction correction
Clustering
2d pass alignment

## Slide 31
cDNA from chronic lymphocytic leukemia (CLL)
CHALLENGES OF NANOPORE TRANSCRIPTOME ANALYSIS
FLAIR pipeline incorporates promoter chromatin states to distinguish 5’ truncations from true novel start sites
Tang et al. bioRxiv 2018

## Slide 32
THE ZIBRA PROJECT : Establishment and cryptic transmission of Zika virus in Brazil and the Americas
Mobile genomics laboratory that travelled through northeast Brazil during June 2016.
The ZiBRA laboratory screened 1,330 samples (blood) from patients in 82 municipalities across 5 federal states
The MinION protocol does not require an Internet connection for analysis, making it suitable for field applications
Viral RNA genome : + sense, 10 kb
Viral consensus sequences can be achieved in 1-2 days.
Faria et al. Nature (2017)
cDNA SEQUENCING
ZIKV was present in northeast Brazil by February 2014 and is likely to have disseminated from there, nationally and internationally, before the first detection of ZIKV in the Americas.

## Slide 33
COUPLING NANOPORE and SINGLE CELL cDNA SEQUENCING
High-throughput targeted long-read single cell sequencing reveals the clonal and transcriptional landscape of lymphocytes
Singh et al., bioRxiv, 2018
RAGE-seq (Repertoire And Gene Expression sequencing): high-throughput deep single cell profiling combines targeted long-read sequencing with short-read transcriptome of barcoded single cell libraries
10x Chromium Single Cell 3’
(V2 chemistry)
Tracking of somatic mutation, alternate splicing and clonal evolution of T and B lymphocytes
T or B cell antigen receptor mRNA

## Slide 34
Electric signal
Canonical base distribution
DETECTION OF MODIFIED BASES USING NANOPORE

## Slide 35: modified bases modified currents
Softwares available:
Simpson et al., 2017, Nat. Methods
Rand et al., 2017, Nat. Methods
Detection of methylated cytosine (m5C) in CpG sites in the human genome
Simpson et al., Nat. Methods, 2017
bisulfite
MinION
Distance to TSS
bp
DETECTION OF MODIFIED BASES USING NANOPORE

## Slide 36
DETECTION OF MODIFIED BASES USING NANOPORE
Same-day genomic and epigenomic diagnosis of brain tumors (gliomas, medulloblastomas)
using real-time nanopore sequencing
Euskirchen et al., Acta Neuropathol. (2017)
Nanopore sequencing allows same-day detection of structural variants, point mutations, and methylation profiling using a single device with negligible capital cost.
It outperforms hybridization-based and current sequencing technologies aiming to make precision medicine possible for every cancer patient.
analysis (5-6 hours)

## Slide 37
sequencing
Library preparation
DIRECT RNA SEQUENCING
RNA directly sequenced in nanopore

## Slide 38
ILLUMINA cDNA vs NANOPORE DIRECT RNA
Illumina Truseq
Nanopore RNA direct
(read number ; Log scale)
Sessegolo et al. Sci. Reports 2019
Illumina
Nanopore
direct RNA

## Slide 39
DIRECT RNA SEQUENCING / SPIKE-IN CONTROLS
Garalde et al. Nat. Methods 2018

## Slide 40
DIRECT RNA SEQUENCING
For the first time a complete genome of an RNA virus sequenced in its original form
sequencing of complete genome with 100% nucleotide coverage, 99% consensus identity
Potential to identify and quantify splice variants, base modifications
not practically measurable with current methods
Direct RNA Sequencing of the complete Influenza A Virus Genome
Keller et al. Scientific Reports, Sept. 2018
Influenza A viruses are negative-sense segmented RNA viruses (8 segments)

## Slide 41
34 genes with discordant allele specificity in two isoforms
ALLELE SPECIFIC ISOFORM ANALYSIS
Workman et al.Nat. Methods nov. 2019
Nanopore native RNA sequencing of a human poly(A) transcriptome

## Slide 42
DIRECT RNA SEQUENCING : DETECTION OF MODIFIED BASES
sequencing
Detection of m6A modification
in RNA molecules
Library preparation
Smith et al. PLOS ONE 2019
Reference position

## Slide 43
Lorenz et al. RNA nov. 2019
Detection of m6A in different sites
DIRECT RNA SEQUENCING : DETECTION OF MODIFIED BASES

## Slide 44
RECENT IMPROVEMENTS
“one-reader” pore has difficulty to read homopolymers
R9.4.1

## Slide 45
RECENT IMPROVEMENTS
R10
R9.4.1
“two-readers”
2019

## Slide 46
RECENT IMPROVEMENTS
R10
R9.4.1
“two-readers”
Consensus accuracy (R10 flow cell)
“two-readers” flow cell can reach Q>50
2019

## Slide 47
Conclusions
PacBio
Maximum read length : 200 kb
Error rate compensated by highly accurate circular consensus sequencing (CCS) reads
Sequencing of cDNAs (resolution of alternative splicing)
Detection of modified DNA with context effects (preferentially 6mA)
Nanopore
Very light sequencing system
Very long reads : maximum length >> 200 kb
Problems with homopolymers : solution with “two-readers” pore
Sequencing of cDNAs (resolution of alternative splicing)
Detection of modified DNA with context effects (preferentially 5mC)
Direct sequencing of RNA
Direct detection of modified RNA (6mA)
Very fast-evolving technologies – Strong competition